Design and Analysis of a

Tracheal Stent for Dogs Using

Fluid-Structure Interaction (FSI)

BY

THU TA ZAW

Table of Contents

1.INTRODUCTION	3

2.Background and Literature Review	3

2.1 Tracheal Collapse in Dogs	3

2.2 Current Treatments	4

2.3 Tracheal Stents	4

2.4 Retrieval Techniques	4

2.5 FSI in Biomedical Engineering	4

3.OBJECTIVES	5

4.METHODOLOGY	5

4.1 Design Phase	5

4.2 Prototyping	5

4.3 FSI Simulations	6

4.4 In Vitro Testing	6

4.5 Data Analysis	6

5.EXPECTED CONTRIBUTIONS	7

5.1 Prototype of Stent	7

5.2 Performance Data	7

5.3 Safety Profile	7

6.CONCLUSION	7

7.REFERENCES	8

## 1.INTRODUCTION

The tube that connects the throat to the lungs, known as the trachea, is supported by semi-rigid rings of hyaline cartilage along its wall, maintaining its patency. Due to the Tracheal collapse, significant respiratory issues could occur in dogs, particularly in small breeds, Yorkshire Terrier and Pomeranian, for example.

Collapsing Trachea involves the deterioration and deformation of the tracheal rings, which could result in the obstruction of the airway. There are various effective ways of treating this condition, including tracheal stenting, which offers a solution by providing structural support. However, there are also complications to this procedure, such as stent migration, stent fracture, and occlusion with granulation tissue, which could cause further injury.

The design process could be enhanced by utilizing the Fluid-Structure Interaction (FSI) technology to simulate the interaction between the airflow, the tracheal walls, the stent, and the retriever. This project aims to design, simulate, and analyze a tracheal stent retriever using FSI to optimize its performance and ensure safety and efficacy.

## 2.Background and Literature Review

### 2.1 Tracheal Collapse in Dogs

Tracheal Collapse mainly occurs when the rings of cartilage encounter a reduction in structural integrity and mechanical strength, which leads to instability in the wall of the trachea. The weakened walls of the trachea cannot withstand the pressure changes, which happen during expiration or episodes of excitement, and are prone to dynamic collapse inward. This phenomenon could lead to obstruction of airflow due to airway stenosis. The majority of cases are seen in the intrathoracic trachea of dogs which is located within the chest cavity. The symptoms of airway obstruction are characterized by a honking cough and difficulty in breathing. Statistics show that 5% of the dog population globally are suffering from Tracheal collapse.

### 2.2 Current Treatments

Currently, the treatment for this condition varies from medical management and surgical intervention to airway stent, depending on the level of tracheal collapse. However, these treatments have certain complications which could lead to a risk of trauma and scarring. For example, removing the stenotic segment to repair the tracheal walls by performing the surgical intervention poses the high risk as it is a complicated surgical procedure.

### 2.3 Tracheal Stents

There are various types of tracheal stents that are currently used depending on the type of materials, designs and intended procedures, including metallic stents, polymeric stents and balloon-Expandable stents. While the use of stents provides immediate relief of symptom and flexibility, there are also certain complications which need to consider, such as stent fracture and granulation tissue.

### 2.4 Retrieval Techniques

Upon considering the parameters of the treatment, the procedures and techniques may vary. Balloon Catheter methods for deploying the stent, for instance, are an effective way to reposition and retrieve the stent from the airway. Another advanced method for deploying the stent, which requires precision, is Laser-Assisted Retrieval methods, which use laser energy to fragment the stent for the purpose of retrieval. Despite their advantages, there are also possibilities of damaging the stent or surrounding tissue through thermal injury.

### 2.5 FSI in Biomedical Engineering

Fluid-Structure Interaction is an advanced computational technique that is used to simulate the interaction between fluids (air) and solids (the stent and wall of trachea) mechanics. FSI is widely used in designing cardiovascular devices and helps evaluate the deformation of the trachea walls due to the stress caused by different physiological conditions.

## 3.OBJECTIVES

The primary objectives of this research are:

- To develop a tracheal stent retriever and optimize it for the canine’s intrathoracic trachea.

- To analyze the mechanical properties of the trachea, including flexibility and strength, under the impact of airflow in the trachea by utilizing the Fluid-Structure Interaction (FSI) simulations.

- To perform in vitro experiments and computational modeling to simulate tracheal conditions, ensuring the safety and efficacy of the retriever.

## 4.METHODOLOGY

### 4.1 Design Phase

- Study the different designs of the stent retrievers and their advantages.

- Create a detailed design the tracheal stent retriever for the dogs using computer-aided design (CAD) software while considering the anatomical and physiological characteristics of the trachea of the canine.

- Identify the favorable factors of various materials used for the stent retrievers and choose the biocompatible materials that can provide appropriate strength and flexibility.

### 4.2 Prototyping

- Study the different methods of manufacturing the stent and produce a prototype using the most efficient method.

- Perform design refinement based on the simulations and mechanical testing feedback.

### 4.3 FSI Simulations

- Generate the computational mesh for the walls of the trachea and the tracheal stent.

- Define the boundary conditions for the simulations based on physiological parameters such as the rate of airflow and the pressure on the tracheal stent.

- Conduct Fluid-Structure Interaction simulations using ANSYS CFX to analyze the impact of airflow and pressure changes on the stent retriever.

- Refine the design of the retriever based on the simulation results to minimize the resistance while ensuring safe operation.

### 4.4 In Vitro Testing

- Develop a tracheal model mimicking the intrathoracic trachea of the canine.

- Perform mechanical testing by assessing the performance of retriever in terms of flexibility, strength and efficiency during retrieval.

- Evaluate the likelihood of tissue damage during retrieval and mucosal injury.

### 4.5 Data Analysis

- Evaluate the distribution of stress upon the stent, the deformation of the stent, and potential movement of the stent due to pressure.

- Compare the simulation date with the in vitro testing data to identify the variations.

## 5.EXPECTED CONTRIBUTIONS

The following are the expected outcomes from this research:

### 5.1 Prototype of Stent

- A working tracheal stent retriever for the canine’s intrathoracic trachea and optimized using the Fluid-Structure Interaction (FSI), that can mitigate the risk of complications associated with the traditional stents.

### 5.2 Performance Data

- Evaluation of the mechanical properties of the stent, including strength and flexibility, and the impact of airflow on the stent.

- Comprehensive data from the tests and the retrieval success rate.

- A validated Fluid-Structure Interaction model that can be used for future improvements.

### 5.3 Safety Profile

- Test the safety of the retriever and the invasiveness of the stent.

- Recommendations on potential improvements on the treatment for dogs with tracheal collapse and clinical use.

## 6.CONCLUSION

This research aims to develop a dedicated stent retriever to address the challenges of tracheal collapse in dogs by applying FSI. With the combination of rigorous testing and ethical considerations, this project seeks the enhancement in the quality of life of affected dogs by improving the treatment outcomes for canine tracheal collapse.

## 7.REFERENCES

1. Szymon Graczyket.al. (2023): Stents in Veterinary Medicine, DOI: 10.3390/ma16041480.

2.  Shifali Kalra et.al. (2017): Implantable Bio-MEMS applications: A review,

DOI: 10.1109/RDCAPE.2017.8358254.

3.  Dumonceau, J. M. et.al. (2012). "Biliary stenting: indications, choice of stents, and results." European Society of Gastrointestinal Endoscopy (ESGE) Clinical Guideline

4.  Anderson, J. D. (1995). Computational Fluid Dynamics: The Basics with Applications. McGraw-Hill.

THU TA ZAW

67070703403