Please find attached the available documents for the NIS-PTFE-030 white standard plate and the integrating sphere.

- The white standard plate has a typical reflectance of approximately 97–98% across the visible range (see attached specification).

- The integrating sphere wall reflectance is approximately 0.94–0.96, depending on wavelength (see attached data).

Please note that the calibration certificate is specific to each individual plate. I am currently checking whether the original certificate is available and will follow up shortly.