## Slide 1
Presentation III
Thu Ta Zaw
2415121095
  Research Idea Discussion

## Slide 2
5
  Background and effects
  Osteoporosis is a skeletal disease characterized by low bone mass and microarchitectural deterioration.
  Can cause bone fragility and increased fracture risk.
  Around 200 Million people are affected.
  Can cause long-term disability and mortality.
  Current Diagnostic Limitations
  DXA (Dual energy X-ray Absorptiometry) is not suitable for repeated monitoring.
  BMD only measure bone mineral density
  Bone microarchitecture, porosity and composition are key to strength but are not captured by BMD.
  Background of Osteoporosis
  Fig. Comparison of healthy bone and bone with osteoporosis

## Slide 3
5
  Background
  Integrating acoustic, optical and depth-sensing technologies for bone health assessment.
  It is a radiation-free, portable and quantitative diagnostic tools.
  Can measure microstructure and composition.
  Current Diagnostic Limitations
  Ultrasound to measure the cortical thickness and porosity by using the speed of sound.
  DXA can only gives areal BMD and cannot see porosity or bone quality.
  Tibial cortical Porosity estimation via ultrasound
  Fig. Bone Scanning using Ultrasound

## Slide 4
5
  Background
  Non-invasive markers of bone marrow perfusion and oxygenation to complement density and microstructure.
  Can be served as early biomarkers of bone remodeling and therapy response.
  Current Diagnostic Limitations
  DXA cannot scan blood, and bone is highly vascular, and perfusion changes precede density changes.
  PAI can provide optical contrast with ultrasound resolution, and can help with early detection
  Photoacoustic Imaging (PAI) of bone marrow health
  Fig. Photoacoustic Imaging Mechanism
  Fig. Photoacoustic Imaging

## Slide 5
5
  Background
  Optical system that uses Near-Infrared (NIR) light for tissue spectroscopy and LiDAR for geometry correction to estimate bone cortical thickness.
  LiDAR for geometry correction to estimate bone cortical thickness.
  Can provide personalized optical path.
  Can improve the accuracy in estimating underlying bone properties.
  Experimental workflow
  LiDAR scans Region of interest and perform surface mesh and compute local and normal curvature.
  NIR will use to capture the bone by penetrating the skin tissue.
  Geometry-Aware Near Infrared Optical Sensing using LiDAR fusion

## Slide 6
5
  Concept
  Train CNN models on chest, hand, or dental X-rays to indirectly estimate bone mineral density (BMD) without DXA.
  Can learn bone-quality features from the existing X-rays data to train the DXA model.
  Experimental workflow
  To develop a deep learning model that takes routine radiographs as input and outputs.
  Can predict the probability of osteoporosis and estimate the fracture risk.
  Visual heatmap highlighting weak bone regions.
  Will use weakly supervised learning using the patient has osteoporosis rather than exact pixel-level bone annotations.
  AI-based Fracture Risk prediction from Routine X-rays

## Slide 7
5
  Concept
  Introduce AI-based inverse modeling to predict phantom or skin stiffness directly from LiDAR depth maps.
  Add mass flow control (MFC) or PWM-controlled solenoid for pulse shaping.
  Add pressure feedback sensor to record real-time pressure near nozzle.
  Calibrate two LiDAR at offset angle for improved accuracy and shadow compensation.
  Improve repeatability by improving calibration.
  Performing simulation validation model using FEM.
  Improvement Idea on Non-Invasive Skin Phantom Properties Estimation using air-jet indentation.

## Slide 8
The End
THANK YOU FOR LISTENING
Thu Ta Zaw
2415121095