## Slide 1
Presentation IX
Thu Ta Zaw
2415121095
  Inverse-Adding Doubling Method

## Slide 2
  Recommended Specification
  Connection type: (SMA 905 – SMA 905)
  Transmission wavelength range: Compatible with 850 nm
  Fiber type: Multimode fiber
  Core diameter: Recommend >= 400 micrometer (diameter)
  Numerical aperture (NA) >= 0.2 mm
  Product
  Brand: JTSF
  Name: Fiber Optic Patch Cord (SMA 905 - SMA 905) VIS-IR NA 0.22 400 um, FSMA905 FC ST Energy Fiber 1m, 2M 300 Cm 5M (SMA-SMA blue 1m)
  SMA-SMA Connector
Fig. SMA905-SMA905 cable

## Slide 3
  Concepts of Solver
  Addling doubling method has 2 models: Forward Model and Inverse Model.
  Forward model describes the changes to light in media (tissue phantom) as a function of properties of these media () and generates the outputs of Radiance (L) and Fluence (), within the media volume and at boundaries.
  Inverse model predict the properties of tissues () based on the measurable outputs (R,T) of an unknown medium (tissue phantom).
  The inverse solutions are achieved by careful selection of a Forward Model, assumptions on tissue properties and distribution, constraints on the measurable geometry and experimental conditions.
  Computational Method

## Slide 4
  Forward model
  Radiance: L(r,Ω,t), which is a 6-Dimentional model.
  Where: r is (x, y, z) and Ω is (). Polar angle (), which is the angle between the direction vector and z-axis and Azimuthal angle (), which is the rotation around the z-axis in the x-y plane.
  Fluence is defined as the integral of radiance over all direction.
  , where sr is the solid angle.
  Adding-Doubling Method
Fig. reflectance and transmittance

## Slide 5
  Forward model
  Radiance: L(r,Ω,t) can be simplified into 1-Dimensional Representation which is the exact solution of RTE.
  Where c and d are coefficients dependent on input parameters.
  Where: is the reduced scattering coefficient, is the absorption coefficient and is the transport coefficient.
  Adding-Doubling Method

## Slide 6
  Radiative Transport Equation
  Reducing Dimensionality

## Slide 7
  Radiative Transport Equation
  Steady-state: eliminate all time dependence.
  Reduce spatial components to 1-D.
  Integrate over all angles to get coupled equations for forward and back scattered radiances.
  Reducing Dimensionality

## Slide 8
  Boundary condition
  Adding-Doubling method calculates to Reflectance and Transmittance for slabs.
  From these equations, we can calculate T and R.
  = 0 if we only have single light source.
  Reducing Dimensionality
Fig. Boundary condition and direction of light

## Slide 9
  Doubling
  Calculate the Reflectance and Transmittance of light from a single thin, homogeneous layer by sub dividing into multiple thin equal slab.
  Reflectance and transmittance from an arbitrarily thick slab can then be obtained by repeatedly doubling the thin slab solution until the desired thickness is achieved.
  Reducing Dimensionality
Fig. Doubling (separation big slab into multiple small slabs)

## Slide 10
  Adding
  An extension of doubling permitting layers of differing optical properties and be added in order to calculate Reflectance and Transmittance in more complex structures including international reflection at layer boundary.
  Adding doubling method can be used for any optical wavelength.
  There is no restriction of the radio of scattering to absorption.
  Reducing Dimensionality
Fig. Thin slab sandwitch between two different material

## Slide 11
  Inverse model
  The input of the models are [].
  Reduce to Dimensionless parameters (reduce 3 inputs to 2):
  ,
  Where: a is albedo and is optical thickness.
  From the measurement
  Inverse Adding-Doubling Method

## Slide 12
  Fresnel Reflections use refractive index n to calculate the reflection at the boundary.
    Describes the partial reflection of light (or other electromagnetic waves) at the boundary between two transparent materials with different refractive indices.
    Fresnel equations determine the fraction of light reflected and transmitted at each interface, depending on refractive indices ( and angle of incident .
  Henyey-Greenstein scattering phase function which is described by g.
  Such that, and
  Inverse Adding-Doubling Method
Fig. Partial transmission and reflection of a pulse travelling from
a low to a high refractive index medium

## Slide 13
The End
THANK YOU FOR LISTENING
Thu Ta Zaw
2415121095